Form RAD 10

Contamination Check for Returned Radiation Dosimeters

To ensure that downstream personnel processing the returned dosimeters are not exposed to radioactive, chemical or biological contamination the Radiation Protection Supervisor or deputy must submit this declaration with the returned batch.

This declaration should be placed in an envelope external to the package containing the dosimeters so it can be seen before opening the dosimeter package. This can be done for example by:

- Placing dosimeters in an envelope that is placed in a second envelope along with the completed declaration.

- Placing the declaration in an envelope secured to a box or package containing the dosimeters.

Checking Procedure

Monitor the dosimeters with a radiation monitor to confirm that the background levels only are detected. Confirm monitor number, background reading and measured reading. This does not apply if the badges are only used for X-ray work.

Dosimeters should be clean and free from contamination with any other hazardous substance or organism.

Declaration

| Safety Office Reference Number of Monitor Used |  |  | OR, if dosimeters for X-ray use only tick here.: |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Detector Type of Monitor Used (Tick) | EP15 | Standard E | Type 42 | Type 44 |  | Other(specify) |
| Background CPS |  |  |  |  |  |  |
| Measured CPS |  |  |  |  |  |  |
| I confirm that the radiation dosimeters have been checked and are free from contamination. |  |  |  |  |  |  |
| Name and signature |  |  |  |  | Date |  |

RAD 10  (Revised 12/01/2012)