Annual Radiation Inspection

| # School |  |  |  |  |  |  |  |  |  |  | - Room Location |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| - Division |  |  |  |  |  |  |  |  |  |  | Status C / S / R |  |  |  |  |
| Isotopes used |  |  |  |  |  |  |  |  |  |  | Date of Inspection |  |  | ### Carried out by |  |
| Documentation |  |  |  |  or  |  |  |  | ## Comments |  |  |  |  |  |  |  |
| Current Authorisation |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Current Registration |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Current dept waste sub-allocations |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Current Local rules |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Current Room map |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stock records readily available |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stock records up to date |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stock records match stock found |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Monitoring records present/correct |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| # Stock Control |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## Stock Location |  |  |  |  | ##  or  |  |  |  |  | # Comments |  |  |  |  |  |
| Stock present at location |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Stock matches records |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Empty bottles disposed of |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Undiscarded empties have stock record |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Records confirm monthly stock check |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| # Waste Control |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  or  |  |  |  |  |  |  |  |  |  | ## Comments |  |  |  |  |  |
| Waste disposals recorded in stock records |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Solid waste not held more than 30 days |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Log/record for each container |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Correct containers used |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Waste containers labelled |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Liquid waste disposed in designated sink |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| No hot items in VLLW waste bin |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Activity limit notice on VLLW bin |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| # Condition of Room ( or ) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Monitors |  |  | Fridge handles |  |  |  |  |  | Handwash sink/taps |  |  |  | Gel driers |  |  |
| Floor |  |  | Door handles |  |  |  |  |  | General lab sinks/taps |  |  |  | Microscopes |  |  |
| Bench tops |  |  | Fume cupboards |  |  |  |  |  | Waste sink/taps |  |  |  | Shakers/Mixers |  |  |
| Cupboards |  |  | Storage shelves |  |  |  |  |  | Gilson Pipettes |  |  |  | Electrophoresis |  |  |
| Cupboard handles |  |  | Shields |  |  |  |  |  | Calculators |  |  |  | Incubators |  |  |
| Fridge/freezers |  |  | Heaters |  |  |  |  |  | Centrifuges |  |  |  | Balances |  |  |
| ## Comments |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |