Monthly Laser Safety Checks

Users should make the following checks of laser safety eyewear and safety-critical equipment before each laser use and the Responsible Person for the lab must ensure a formal check is recorded monthly on this sheet. If any checks are failed, the item must be withdrawn from use and reported for action to the responsible person given below.

| Business Unit |  |  | Responsible Person (PI) |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Location (building & lab) |  |  | Date of check |  |  |  |
| Person completing check (name) |  |  | Signature |  |  |  |
| Laser Safety System checks |  | Yes/No/NA |  | If no, list actions required |  | If no, date to complete action by |
| Does laser equipment appear to be in good physical condition (not damaged, leaking, etc)? |  |  |  |  |  |  |
| Is all laser warning signage clear, readable, and up to date, and do the Laser emission lightboxes/warning lights work |  |  |  |  |  |  |
| Are all interlocks (door, panels, etc) activating correctly to prevent the laser(s) operating? |  |  |  |  |  |  |
| Are all emergency stop buttons operating correctly when pressed (To test every 6 months, please indicate date of next text in last column) |  |  |  |  |  |  |
| If applicable, are any fume extraction units that are part of a laser experiment (e.g., laser cutter) functioning correctly, suitably positioned and tested? |  |  |  |  |  |  |

For any laser systems where exposure of users to lasing above the MPE is necessary, please also fill in the section below:

| Laser Safety Eyewear checks | Yes/No/NA | If no, list actions required | If no, date to complete action by |
| --- | --- | --- | --- |
| Is all laser safety eyewear clean, free from scratches/cracks/burns, and stored correctly? |  |  |  |
| Are frames (and elastic restraints where applicable) free from signs of damage? |  |  |  |
| Are there sufficient sets of eyewear for the number of users? |  |  |  |
| Any other related issues? If yes, list actions required to address them. |  |  |  |