| Laser Survey Form |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| # A Laser Survey is to be completed (preferably electronically) by the local Laser Safety Officer for all experimental set-ups involving Class 3R, 3B, and/or 4 lasers, before being put into use for the first time. If there are multiple lasers within a given experiment, it is expected that this form will be completed for the whole experiment and not for individual lasers. # Prior to the laser survey being completed, each laser within the experiment should be registered with the university H&S Department through the online registration form, and confirmation of registration should have been received. # A new survey should be completed at least yearly, or upon any changes to the experiment, such as new lasers introduced, lasers replaced or changed, or the experiment is rearranged significantly. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| L Number(s): | Click or tap here to enter text. |  |  |  |  |  | Date: |  |  |  |  | Click or tap here to enter text. |  |  |  |  |  |  |  |  |
| Faculty/School: | Click or tap here to enter text. |  |  |  |  |  | Building/Room: |  |  |  |  | Click or tap here to enter text. |  |  |  |  |  |  |  |  |
| Experiment Summary: | Click or tap here to enter text. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Physical / Engineering Controls: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Precautions (present, working, and suitable) |  | Class in Standard Use (everyday operations) (please select class below) |  |  |  |  |  |  |  |  |  | Class in Non-Standard Use Check if not applicable ☐ (please select class below) |  |  |  |  |  |  |  |  |
|  |  | 1/1M ☐ |  | 2/2M ☐ |  | 3R ☐ |  |  | 3B ☐ |  | 4 ☐ | 1/1M ☐ |  | 2/2M ☐ |  | 3R ☐ |  | 3B ☐ |  | 4 ☐ |
|  |  | From the dropdown boxes, please tick (✔) one box for each control confirming that a precaution is in place and is suitable and sufficient, or (N) if a precaution is not required. Please indicate (✗) where a control has not been implemented, and/or improvement is required (add to Recommended Actions section below). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | X = Not Required for given class of laser system, but you may still select controls if they bring an activity down to selected level. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Emission indicator |  | X - | X - |  | X - |  |  | - |  | - |  | X - | X - |  | X - |  | - |  | - |  |
| Remote Interlock |  | X - | X - |  | X - |  |  | - |  | - |  | X - | X - |  | X - |  | - |  | - |  |
| Key Control(s) |  | X - | X - |  | X - |  |  | - |  | - |  | X - | X - |  | X - |  | - |  | - |  |
| Beam Shutter(s) |  | X - | X - |  | X - |  |  | - |  | - |  | X - | X - |  | X - |  | - |  | - |  |
| Beam Stop(s) |  | X - | X - |  | - |  |  | - |  | - |  | X - | X - |  | - |  | - |  | - |  |
| Secured optical components where possible, and beam path controlled. |  | X - | X - |  | - |  |  | - |  | - |  | X - | X - |  | - |  | - |  | - |  |
| Beam Enclosure (enclosed as much as possible, suitable shielding material, secured, interlocked where possible, flight tubes, etc.) |  | X - | X - |  | - |  |  | - |  | - |  | X - | X - |  | - |  | - |  | - |  |
| Beam Alignment aides (Cameras, external adjustors, etc.) |  | X - | X - |  | - |  |  | - |  | - |  | X - | X - |  | - |  | - |  | - |  |
| Non-beam hazards controlled (Fire, Chemical, Water, Electrical, etc.) |  | - | - |  | - |  |  | - |  | - |  | - | - |  | - |  | - |  | - |  |
| Laser beam interaction hazards controlled e.g. ablation fumes, laser cutting by-products, etc. |  | X - | X - |  | X - |  |  | X - |  | - |  | X - | X - |  | X - |  | X - |  | - |  |

| Administrative Controls and PPE: |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Precautions (Present, up-to-date, reasonable, and justified, if applicable) | Class in Standard Use (everyday operations) (please select class below) |  |  |  |  |  | Class in Non-Standard Use Check if not applicable ☐ (please select class below) |  |  |  |  |  |
|  | 1/1M ☐ |  | 2/2M ☐ | 3R ☐ | 3B ☐ | 4 ☐ | 1/1M ☐ |  | 2/2M ☐ | 3R ☐ | 3B ☐ | 4 ☐ |
|  | From the dropdown boxes, please tick (✔) one box for each control confirming that a precaution is in place and is suitable and sufficient, or (N) if a precaution is not required. Please indicate (✗) where a control has not been implemented, and/or improvement is required (add to Recommended Actions section below). |  |  |  |  |  |  |  |  |  |  |  |
| Laser-specific risk assessments | X - |  | X - | - | - | - | X - |  | X - | - | - | - |
| Alignment procedures and SoPs | X - |  | X - | - | - | - | X - |  | X - | - | - | - |
| Laser users registered and trained (recorded) | X - |  | X - | - | - | - | X - |  | X - | - | - | - |
| Door/cubicle signage meets policy requirements. (Warning symbols and authorised users) | X - |  | X - | - | - | - | X - |  | X - | - | - | - |
| Laser eye protection (available, evidence for correct selection) | X - |  | X - | - | - | - | X - |  | X - | - | - | - |
| Protective clothing for skin | X - |  | X - | X - | X - | - | X - |  | X - | X - | X - | - |
| Emergency grab cards | X - |  | X - | X - | - | - | X - |  | X - | X - | - | - |
| Safety critical checks performed monthly and documented | X - |  | X - | X - | - | - | X - |  | X - | X - | - | - |
| Laser labels (on equipment or nearby if device too small) | - |  | - | - | - | - | - |  | - | - | - | - |
| Recommendations and Signature: |  |  |  |  |  |  |  |  |  |  |  |  |
| Comments: |  |  |  |  |  |  |  |  |  |  |  |  |
| Click or tap here to enter text. |  |  |  |  |  |  |  |  |  |  |  |  |
| Recommended Actions for Improvement: |  |  |  |  |  |  |  |  |  |  |  |  |
| Click or tap here to enter text. |  |  |  |  |  |  |  |  |  |  |  |  |
| Additional controls required before commencement (engineering/administrative/PPE): |  |  |  |  |  |  |  |  |  |  |  |  |
| Click or tap here to enter text. |  |  |  |  |  |  |  |  |  |  |  |  |
| Name of Responsible Person: Click or tap here to enter text. |  | Signature: |  |  |  |  |  | Date: Click or tap here to enter text. |  |  |  |  |
| Name of Laser Safety Officer: Click or tap here to enter text. |  | Signature: |  |  |  |  |  | Date: Click or tap here to enter text. |  |  |  |  |